## Slide 1: Evaluation of meteorological sensors for use in portable automatic weather station development 29/6 – 21/8
R3(b) LAW, Suet Sum

## Slide 2: Community Weather Information Network
Objectives:
  Gather weather information
  Uploaded to the internet for the public
  Promote meteorology and environmental education
Automatic Weather Station

## Slide 3: Community Weather Information Network
New AWS
  Smaller, Cheaper
  Can be improved
    Editing the program
    Adding the electronic components
Creates opportunities for the students to build an automatic weather station (AWS)

## Slide 4: Structure
Phase I Comparison of sensors
Phase II Design and Develop AWS
NOW
Accuracy
Consistency Linearity

## Slide 5: Mobile Sensors Analysis
    Type of sensors
      Thermistor (Temperature sensor)
      Resistance depends on temperature ∆R = k ∆T
      Photodiode (Photon sensor)
      Photon generates current and current was amplified
        Phototransistor (Light sensor)
        Schottky-type Photodiode (UV sensor)
      MEMS sensor
      Micro-electro-mechanical system sensor
      Technology of very small devices

## Slide 6: Mobile Sensors Analysis
    Weather Shield
  HTU21D (Temperature, Humidity) [MEMS]
  MPL3115A2LGA8 (Pressure) [MEMS]
  ALS-PT19 (Light level) [Photodiode]

## Slide 7: Mobile Sensors Analysis
    Grove – Temperature and Humidity Sensor Pro
  AM2320 (Temperature, Humidity) [Thermister]

## Slide 8: Mobile Sensors Analysis
    Grove – Barometer (High-accuracy)
  HP206C (Pressure, Temperature) [MEMS]

## Slide 9: Mobile Sensors Analysis
    Grove – UV sensor
  GUVA – S21D (Ultraviolet) [Photodiode]

## Slide 10: Mobile Sensors Analysis
 | HTU21D | MPL3115A2LGA8 | HP206C | AM2320
Temperature (oC) | ±0.3 | ±1 | ±1 | ±0.5
Long Term Drift (year) | ±0.04 | ±0.1 | / | ±0.1
Humidity (%) | ±1 | / | / | ±3
Long Term Drift (year) | ±0.5 | / | / | ±<0.5
Pressure (kPa) | / | ±0.4 | ±0.3 | 
Long Term Drift (year) | / | ±0.1 | ±0.15 | 
 | GUVA – S21D | ALS-PT19
Sensitivity wavelength | 240-380 (nm) [UV] | 390-700 (nm) [visible light]
Sensitivity area | 0.076 | >0.076

## Slide 11: Electronic Components Analysis
    Grove - RTC
  real time clock that can record the date and time.

## Slide 12: Electronic Components Analysis
    Openlog
  data logger
  Micro SD card
  Serial port to CSV text file

## Slide 13: Electronic Components Analysis
    Grove - Base Shield
      I2C Port
    Arduino Uno
      Control other electronic components
    Arduino LCD Monitor
      Display sensor value

## Slide 14: Phase I
Test bed 1

## Slide 15: Phase I
Test bed 2

## Slide 16: Phase I
Notes: Renew picture

## Slide 17: Phase I
Serial Port to CSV text file
Serial Port opened by Arduino
Text file opened by Note Pad
CSV text file opened by Excel
Statistical analysis or comparison can be done!
Comma Separated Variable

## Slide 18: Comparison of sensors
Consistency of Sensors
  Sensor value should be no difference under same condition
Plot Sensor value versus Standard value
  Linear correlation coefficient R
    Try to find if they have linear relationship
    Perfect case : R2 = 1
  Observe the equation
    Equation of graph : y = mx + c
    Perfect case : y (Sensor) = x (Standard)
      m = 1 ; c = 0

## Slide 19: Comparison between sensors and PRT [Temperature]
Consistency
Chart: Temperature (28-29/07 Overnight)
Sensors HTU21D AM2320 HP206C

## Slide 20: Comparison between sensors and PRT [Temperature]
Chart: HTU21D
Consistency
1.5oC Difference
PT100 standard
HTU21D [2]
HTU21D [1]

## Slide 21
Chart: AM2320
Consistency
PT100 standard
AM2320 [2]
AM2320 [1]
<0.5oC Difference
Comparison between sensors and PRT [Temperature]

## Slide 22: Comparison between sensors and PRT [Temperature]
Chart: HP206C
Consistency
PT`100 standard
HP206C [1]
HP206C [2]
~1oC Difference

## Slide 23: Comparison between sensors and PRT [Temperature]
Consistency
HTU21D
HP206C
AM2320

## Slide 24: Comparison between sensors and PRT [Temperature]
HTU21D {Room Temperature}
Chart: 
Fluctuations

## Slide 25: Comparison between sensors and PRT [Temperature]
HTU21D {Room Temperature}
Chart: Arduino Temperature vs PRT (17:30 10/7 - 08:25 12/7)
Below 25oC is not well fit

## Slide 26: Comparison between sensors and PRT [Temperature]
HTU21D/AM2320 {Below 25oC}
Chart: Timr (hh:mm)
AM2320
Almost 2 oC

## Slide 27: Comparison between sensors and PRT [Temperature]
Chart: Arduino vs PT100 15-16 July 2015
HTU21D/AM2320 {Below 25oC}
AM2320
y=x

## Slide 28: Comparison between sensors and PRT [Pressure]
Consistency
Chart: Pressure (28-29/07 Overnight)
Sensors MPL3115A2LGA8 HP206C

## Slide 29: Comparison between sensors and King’s Park instrument [Pressure]
Consistency
Chart: MPL3115A2LGA8

## Slide 30: Comparison between sensors and King’s Park instrument [Pressure]
Chart: HP206C
Consistency
HP206C [1]
HP206C [2]

## Slide 31: Comparison between sensors and King’s Park instrument [Pressure]

## Slide 32: Comparison of sensors in King’s Park
Chart: Pressure [King's Park]
MPL3115A2LGA8/HP206C

## Slide 33: Comparison between sensors and King’s Park instrument [Pressure]
MPL3115A2LGA8/HP206C
Chart: Pressure [King's Park]
King’s Park
HP206C
HP206C
MPL3115A2LGA8

## Slide 34
MPL3115A2LGA8/HP206C
Comparison between sensors and King’s Park instrument [Pressure]
Chart: 
y=x | 1002 | 1003 | 1004 | 1005
y=x

## Slide 35
Chart: Humidity (28-29/07 Overnight)
Consistency
Sensors HTU21D AM2320
Comparison between sensors and King’s Park instrument [Humidity]

## Slide 36
Consistency
Chart: AM2320
AM2320 [1]
Comparison between sensors and King’s Park instrument [Humidity]

## Slide 37
Consistency
Chart: Humidity (28-29/07 Overnight)
HTU21D [1]
HTU21D [2]
Comparison between sensors and King’s Park instrument [Humidity]

## Slide 38
HTU21D/AM2320
Comparison between sensors and King’s Park instrument [Humidity]

## Slide 39
HTU21D/AM2320
Comparison between sensors and King’s Park instrument [Humidity]

## Slide 40
ALS-PT19
Comparison between sensors and King’s Park instrument [Light]

## Slide 41
ALS-PT19
Comparison between sensors and King’s Park instrument [Light]

## Slide 42
GUVA – S21D
Comparison between sensors and King’s Park instrument [UV]

## Slide 43
GUVA – S21D
Comparison between sensors and King’s Park instrument [UV]

## Slide 44: Preparation of Phase II
Schematics + circuit board design
Clock Battery Teensy
Display
Battery Ports

## Slide 45: Selected Sensors
 | Sensors Name
Temperature | AM2320
Pressure | HP206C
Humidity | ?
Light | ?
UV | ?
Offset can be added to the program

## Slide 46: Next time…
Sensors tested in King’s Park
  Humidity
  Light
  UV
Circuit Board
  Design
  Comparison Test
  ~~Thank you~~

## Slide 47: Problems should be encountered in Phase II
Temperature
  Mobile phone can reach 60 oC in summer on the roof top
  Will such a temperature affect the sensitivity and accuracy of the sensors?